## Worksheet
Instructions:
1) Edit the PEACH colored cells. 2) Use Pull-Downs for RadType/MAIN & Pipe Size. 3) Click "Recommendation" Tab for results.
Recommended resource: E.D.R. by Dan Holohan available for purchase www.heatinghelp.com
Formulas and Data based on: Balancing Steam Systems by Gerry Gill & Steve Pajek available for purchase www.heatinghelp.com
Developed by: JP Freeley - Nov 2009 - jpf321@gmail.com
ElementName | sq ft EDR | BTUH (240BTUH X SqFtEDR) | RadType | RadCF to Vent | Pipe Size | runout length (ft) | total CF (Rad+Pipe) | Minutes To Vent | CFM to Vent | Recommendations 1oz
MAIN 1 | 0 | 0 | Main | 0 | 2" | 36 | 0.828 | 1 | 0.828 | #D (#1 if Main Vent)
MAIN 2 | 0 | 0 | Main | 0 | 2" | 30 | 0.69 | 1 | 0.69 | #D (#1 if Main Vent)
Living | 60 | 14400 | Cast-iron tube (circa 1930) | 0.78 | 1-1/4" | 2 | 0.808 | 3 | 0.26933 | #C
Den | 36 | 8640 | Cast-iron column (circa 1900) | 0.36 | 1-1/4" | 2 | 0.388 | 3 | 0.12933 | #6
Dining | 56 | 13440 | Cast-iron tube (circa 1930) | 0.728 | 1-1/4" | 2 | 0.756 | 3 | 0.252 | #C
Kitchen | 56 | 13440 | Cast-iron tube (circa 1930) | 0.728 | 1-1/4" | 2 | 0.756 | 3 | 0.252 | #C
Half Bath | 13 | 3120 | Cast-iron radiant radiator (5" deep) | 0.13 | 1" | 3 | 0.145 | 3 | 0.048333 | #5
Guest | 28 | 6720 | Cast-iron column (circa 1900) | 0.28 | 1-1/4" | 11 | 0.434 | 3 | 0.14467 | #6
Emmy's Office | 32 | 7680 | Cast-iron column (circa 1900) | 0.32 | 1-1/4" | 11 | 0.474 | 3 | 0.158 | #C
Dan's Office | 28 | 6720 | Cast-iron column (circa 1900) | 0.28 | 1-1/4" | 15 | 0.49 | 3 | 0.16333 | #C
Master | 26 | 6240 | Cast-iron column (circa 1900) | 0.26 | 1-1/4" | 11 | 0.414 | 3 | 0.138 | #6
Bathroom | 14 | 3360 | Cast-iron radiant radiator (5" deep) | 0.14 | 1-1/4" | 12 | 0.308 | 3 | 0.10267 | #6
- | 0 | 0 | Cast-iron tube (circa 1930) | 0 | 1" | 1 | 0.005 | 1 | 0.005 | #4
- | 0 | 0 | Cast-iron tube (circa 1930) | 0 | 1" | 1 | 0.005 | 1 | 0.005 | #4
- | 0 | 0 | Cast-iron radiant radiator (5" deep) | 0 | 1" | 1 | 0.005 | 1 | 0.005 | #4
- | 0 | 0 | Cast-iron radiant radiator (5" deep) | 0 | 1" | 1 | 0.005 | 1 | 0.005 | #4
TOTAL | 349 | 83760 | [6 empty] | 3.1957
|  |  | PURCHASE 1oz | Qty
|  |  | #4 | 4
|  |  | #5 | 1
|  |  | #6 | 4
|  |  | #C | 5
|  |  | #D (#1 if Main Vent) | 2
AND MAINS AS ABOVE

## Recommendations Gorton
Gorton Valve Options | Element | CFM to Vent | 1oz | Cap | 2oz | Cap | 3oz | Cap
#4, #5, #6, #C and #D available as 1/8" Angles | MAIN 1 | 0.828 | #D (#1 if Main Vent) | 0.33 | #D (#1 if Main Vent) | 0.54 | #D (#1 if Main Vent) | 0.7
#4, #5, #6, #C and #D available as 1/4" or 1/8" Straight | MAIN 2 | 0.69 | #D (#1 if Main Vent) | 0.33 | #D (#1 if Main Vent) | 0.54 | #D (#1 if Main Vent) | 0.7
#1 available as 3/8"M, 3/4"M or 1/2"F Straight | Living | 0.26933 | #C | 0.27 | #C | 0.45 | #6 | 0.3
#2 available as 1/2"M Straight | Den | 0.12933 | #6 | 0.15 | #5 | 0.13 | #5 | 0.16
| Dining | 0.252 | #C | 0.27 | #C | 0.45 | #6 | 0.3
Main Venting Manifold Size | Kitchen | 0.252 | #C | 0.27 | #C | 0.45 | #6 | 0.3
1/2" pipe can support 2pcs #2 | Half Bath | 0.048333 | #5 | 0.08 | #5 | 0.13 | #4 | 0.055
3/4" pipe can support 4pcs #2 + 1pcs #1 | Guest | 0.14467 | #6 | 0.15 | #6 | 0.235 | #5 | 0.16
1" pipe can support 5pcs #2 | Emmy's Office | 0.158 | #C | 0.27 | #6 | 0.235 | #5 | 0.16
| Dan's Office | 0.16333 | #C | 0.27 | #6 | 0.235 | #6 | 0.3
Main Vent Conversions | Master | 0.138 | #6 | 0.15 | #6 | 0.235 | #5 | 0.16
~4pcs Gorton #1 = 1pc Gorton #2 | Bathroom | 0.10267 | #6 | 0.15 | #5 | 0.13 | #5 | 0.16
~2pcs Hoffman #75 = 1pc Gorton #2 | - | 0.005 | #4 | 0.025 | #4 | 0.04 | #4 | 0.055
~3pcs Hoffman #76 = 1pc Gorton #2 | - | 0.005 | #4 | 0.025 | #4 | 0.04 | #4 | 0.055
| - | 0.005 | #4 | 0.025 | #4 | 0.04 | #4 | 0.055
| - | 0.005 | #4 | 0.025 | #4 | 0.04 | #4 | 0.055
|  |  | Total Vent Capacity (cfm) | 2.79 |  | 3.92 |  | 3.675
|  |  | Venting Needed (cfm) | 3.1957 |  | 3.1957 |  | 3.1957
|  |  | Venting Surplus (cfm) | -0.40567 |  | 0.72433 |  | 0.47933
|  |  | Venting Surplus (%) | -12.69% |  | 22.67% |  | 15%
|  |  | PURCHASE 1oz | Qty | PURCHASE 1oz | Qty | PURCHASE 1oz | Qty
|  |  | #4 | 4 | #4 | 4 | #4 | 5
|  |  | #5 | 1 | #5 | 3 | #5 | 5
|  |  | #6 | 4 | #6 | 4 | #6 | 4
|  |  | #C | 5 | #C | 3 | #C | 0
|  |  | #D (#1 if Main Vent) | 2 | #D (#1 if Main Vent) | 2 | #D (#1 if Main Vent) | 0
|  |  | AND MAINS AS ABOVE |  | AND MAINS AS ABOVE |  | AND MAINS AS ABOVE

## Recommendations Hoffman1A
Hoffman 1A Valves | Element | 1oz | Cap | 2oz | Cap | 3oz | Cap
Are fully adjustable from 1-6 and available as 1/8" Angles | MAIN 1 | 6 | 0.145 | 6 | 0.225 | 6 | 0.3
| MAIN 2 | 6 | 0.145 | 6 | 0.225 | 6 | 0.3
| Living | 6 | 0.145 | 6 | 0.225 | 5 | 0.29
| Den | 5 | 0.14 | 3 | 0.158 | 3 | 0.2
| Dining | 6 | 0.145 | 6 | 0.225 | 5 | 0.29
Main Venting Manifold Size | Kitchen | 6 | 0.145 | 6 | 0.225 | 5 | 0.29
1/2" pipe can support 2pcs #2 (Gorton) | Half Bath | 3 | 0.1 | 3 | 0.158 | 2 | 0.056
3/4" pipe can support 4pcs #2 + 1pcs #1 (Gorton) | Guest | 6 | 0.145 | 3 | 0.158 | 3 | 0.2
1" pipe can support 5pcs #2 (Gorton) | Emmy's Office | 6 | 0.145 | 3 | 0.158 | 3 | 0.2
| Dan's Office | 6 | 0.145 | 5 | 0.22 | 3 | 0.2
| Master | 5 | 0.14 | 3 | 0.158 | 3 | 0.2
MAIN VENTS ARE PROVIDED AS GORTON BRAND | Bathroom | 4 | 0.108 | 3 | 0.158 | 3 | 0.2
| - | 1 | 0.02 | 1 | 0.026 | 1 | 0.033
| - | 1 | 0.02 | 1 | 0.026 | 1 | 0.033
| - | 1 | 0.02 | 1 | 0.026 | 1 | 0.033
| - | 1 | 0.02 | 1 | 0.026 | 1 | 0.033
|  | Total Vent Capacity (cfm) | 1.728 |  | 2.397 |  | 2.858
|  | Venting Needed (cfm) | 3.1957 |  | 3.1957 |  | 3.1957
|  | Venting Surplus (cfm) | -1.4677 |  | -0.79867 |  | -0.33767
|  | Venting Surplus (%) | -45.93% |  | -24.99% |  | -10.57%

## Notes
| Boiler | H.B.Smith BB14
Timing
| Time to Hot header |  | 4:15
| Time to Mains all hot |  | 7:05
| Time to submains all hot |  | 15:00 |  | upstairs radiators still cold
| time to boiler off |  | 16:08
| Run |  | Pipe Size | Length | Pipe Size | Length
back of house | Main 1 |  | 2 | 20
| Dry Return 1 |  | 1.25 | 16
| submain right |  | 1.5 | 11.5 | 2 | 1.25
| submain left |  | 1.5 | 15
front of house | Main 2 |  | 2 | 10.5
| Dry Return 2 |  | 1.25 | 13
| submain right |  | 1.5 | 10
| submain left |  | 1.25 | 9
| main vents | USAV | 4x1"
| header | 22" above water line
| risers | 2"
| vertical | 4"

## Tables (Gill & Pajek)
Hidden Columns A-R containing data tables
Gorton Capacities
Radiator Type | CF/sqftEDR | Pipe Size | CFM/PipeLinFoot |  |  | 1oz | 2oz | 3oz |  |  | Hoffman 1A Capacities
Main | 0 | 1" | 0.005 |  | #1 | 0.33 | 0.54 | 0.7 |  |  | 1oz | 2oz | 3oz
Unit heater | 0.0002 | 1-1/4" | 0.01 |  | #2 | 1.1 | 1.75 | 2.2 |  | 1 | 0.02 | 0.026 | 0.033
Cast-iron convector (in cabinet) | 0.0003 | 1-1/2" | 0.014 |  | #4 | 0.025 | 0.04 | 0.055 |  | 2 | 0.026 | 0.043 | 0.056
Cast-iron thin tube (as made today) | 0.009 | 2" | 0.023 |  | #5 | 0.08 | 0.13 | 0.16 |  | 3 | 0.1 | 0.158 | 0.2
Cast-iron baseboard (10"-high) | 0.01 | 2-1/2" | 0.03 |  | #6 | 0.15 | 0.235 | 0.3 |  | 4 | 0.108 | 0.16 | 0.21
Cast-iron tube (circa 1930) | 0.013 | 3" | 0.053 |  | #C | 0.27 | 0.45 | 0.57 |  | 5 | 0.14 | 0.22 | 0.29
Cast-iron column (circa 1900) | 0.025 | 3-1/2" | 0.07 |  | #D | 0.33 | 0.54 | 0.7 |  | 6 | 0.145 | 0.225 | 0.3
Cast-iron wall- or ceiling-mounted | 0.028 | 4" | 0.09
Cast-iron flue (antique radiators) | 0.029 | 4-1/2" | 0.11 |  | 0.011765
Cast-iron radiant radiator (5" deep) | 0.009 | 5" | 0.14
|  | 6" | 0.2
CFM_Vent_Lookup_1oz |  | 8" | 0.36 |  | CFM_Vent_Lookup_3oz |  |  | CFM_Vent_Lookup_Hoff1A_1oz |  |  | CFM_Vent_Lookup_Hoff1A_2oz |  |  | CFM_Vent_Lookup_Hoff1A_3oz
CFM_Max | gorton |  |  |  | CFM_Max | gorton |  | CFM_Mac | Hoff1a |  | CFM_Mac | Hoff1a |  | CFM_Mac | Hoff1a
0 | #4 | CFM_Vent_Lookup_2oz |  |  | 0 | #4 |  | 0 | 1 |  | 0 | 1 |  | 0 | 1
0.026 | #5 | CFM_Max | gorton |  | 0.056 | #5 |  | 0.021 | 2 |  | 0.027 | 2 |  | 0.034 | 2
0.081 | #6 | 0 | #4 |  | 0.161 | #6 |  | 0.027 | 3 |  | 0.044 | 3 |  | 0.057 | 3
0.151 | #C | 0.041 | #5 |  | 0.301 | #C |  | 0.101 | 4 |  | 0.159 | 4 |  | 0.201 | 4
0.271 | #D (#1 if Main Vent) | 0.131 | #6 |  | 0.571 | #D (#1 if Main Vent) |  | 0.109 | 5 |  | 0.161 | 5 |  | 0.211 | 5
|  | 0.236 | #C |  |  |  |  | 0.141 | 6 |  | 0.221 | 6 |  | 0.291 | 6
|  | 0.451 | #D (#1 if Main Vent)
Main_Vent_LU
|  |  | #1 | #2
|  | 1oz | 0.33 | 1.1
|  | 2oz | 0.54 | 1.75
|  | 3oz | 0.7 | 2.2