## Wall Area
| Length | Width | Height | Wall Area
First Floor No Addition | 34 | 29 | 8 | 802.72 | Front Wall plus 2 side walls plus piece of back wall that isn’t the addition
First Floor Addition | 25.66 | 8 | 8 | 333.28 | Length * height for long side + 2 short sides
Second Floor | 34 | 29 | 7.5 | 945
Between Floors | 34 | 29 | 0.83333 | 105
Total Gross Wall Area |  |  |  | 2186
Total Window/Door Area |  |  |  | #REF!
Total Net Wall Area |  |  |  | 1814
100.34
126
House Ceiling Square Feet Under Attic | 986
House Square Feet Over Basement | 1191.28
House Square Feet | 2177.28
| Width | Length | Width(ft) | Length(ft)
Allen Room | 159.22 | 153 | 13.2683 | 12.75
Tracey Room | 159.72 | 160.22 | 13.31 | 13.3517
Office | 186.3 | 138.65 | 15.525 | 11.5542
Weight Room | 136.5 | 141 | 11.375 | 11.75
Hall | 72 | 240 | 6 | 20
Bathroom | 58 | 82 | 4.8333 | 6.8333
| Width | Length | Width(ft) | Length(ft)
Dining | 232 | 160 | 19.3333 | 13.3333
Living | 166 | 327 | 13.8333 | 27.25 |  | 54.9167
Kitchen | 165 | 232 | 13.75 | 19.3333
Nook | 105 | 119 | 8.75 | 9.9167
Mudroom | 96 | 99 | 8 | 8.25
Bathroom | 91 | 62 | 7.5833 | 5.1667

## Design Temperature
Url: http://ashrae-meteo.info/index.php?lat=43.278&lng=-70.922&place=%27%27&wmo=726056&si_ip=SI&ashrae_version=2017
Url above is for the 2017 edition and the closest location
According to the info saved in pdf form the coldest month is January and the 99% temperature is -14.5C which is 5.9 F
Design Temps | C | F
99% | -14.5 | 5.9
99.6% | -17.5 | 0.5
Portsmouth @ Pease Airport:
url: http://ashrae-meteo.info/index.php?lat=43.278&lng=-70.922&place=%27%27&wmo=726056&si_ip=SI&ashrae_version=2017
Design Temps | C | F
99% | -13.5 | 7.7
99.6% | -16.3 | 2.66

## Oil Use Analysis
Another attempt using: https://www.greenbuildingadvisor.com/article/out-with-the-old-in-with-the-new
Current Boiler
DOE Heating Capacity MBH | Net MBH
151 | 131 | 0.86755
Burner gallons per hour
1.25 | 173125 | 0.8722
[12 empty] | Sized @ .5F design temp |  | 1.4x
Efficiency of boiler | 0.86 | [10 empty] | Slantfin heat loss with ½ inch wall insulation | 68583 | 96016.2
[12 empty] | Slantfin heat loss with 3.5 inch wall insulation | 54736 | 76630.4
Design Temp | 0.5 | 99.6%
BTU in gallon of #2 fuel oil | 138500
|  |  |  | Assuming 100% Efficiency |  |  |  |  | Using Efficiency of Boiler
Date | Gallons | BTU in oil | BTU @ chosen efficiency | Heating Degree Days | BTU’s lost per Heating Degree Day | BTU’s lost per Heating Degree Hour | Heat Loss/Hour | Sized @ 1.4X Loss | BTU’s lost per Heating Degree Day | BTU’s lost per Heating Degree Hour | Heat Loss/Hour | Sized @ 1.4X Loss
2016-11-19
2016-12-24 | 157.2 | 21772200 | 18724092 | 1213.7 | 17938.6998 | 747.4458 | 48210.2558 | 67494.3582 | 15427.2819 | 642.8034 | 41460.82 | 58045.148
2017-01-25 | 154.0996 | 21342796.93 | 18354805.36 | 1122.7 | 19010.2404 | 792.0934 | 51090.0212 | 71526.0296 | 16348.8068 | 681.2003 | 43937.4182 | 61512.3855
2017-02-22 | 135.2 | 18725200 | 16103672 | 1033.9 | 18111.2293 | 754.6346 | 48673.9288 | 68143.5003 | 15575.6572 | 648.9857 | 41859.5788 | 58603.4103
2017-03-29 | 151.8 | 21024300 | 18080898 | 1165.4 | 18040.4153 | 751.684 | 48483.6161 | 67877.0626 | 15514.7572 | 646.4482 | 41695.9099 | 58374.2738
2017-05-31 | 126.1 | 17464850 | 15019771 | 947.4 | 18434.505 | 768.1044 | 49542.7321 | 69359.8249 | 15853.6743 | 660.5698 | 42606.7496 | 59649.4494
2017-11-13 | 154.2 | 21356700 | 18366762 | 934.6 | 22851.1663 | 952.1319 | 61412.5094 | 85977.5131 | 19652.003 | 818.8335 | 52814.758 | 73940.6613
2017-12-18 | 136.9 | 18960650 | 16306159 | 1138.5 | 16654.0624 | 693.9193 | 44757.7926 | 62660.9096 | 14322.4936 | 596.7706 | 38491.7016 | 53888.3823
2018-01-12 | 146.8 | 20331800 | 17485348 | 1178.1 | 17258.1275 | 719.0886 | 46381.2176 | 64933.7047 | 14841.9896 | 618.4162 | 39887.8472 | 55842.986
2018-02-12 | 154.7 | 21425950 | 18426317 | 1180.6 | 18148.3568 | 756.1815 | 48773.7088 | 68283.1923 | 15607.5868 | 650.3161 | 41945.3896 | 58723.5454
2018-03-21 | 138.2 | 19140700 | 16461002 | 1141 | 16775.3725 | 698.9739 | 45083.8135 | 63117.339 | 14426.8203 | 601.1175 | 38772.0796 | 54280.9115
2018-05-07 | 121.6 | 16841600 | 14483776 | 998.6 | 16865.2113 | 702.7171 | 45325.2554 | 63455.3575 | 14504.0817 | 604.3367 | 38979.7196 | 54571.6075
2018-10-24 | 144.7 | 20040950 | 17235217 | 895.2 | 22387.1202 | 932.7967 | 60165.3855 | 84231.5397 | 19252.9234 | 802.2051 | 51742.2315 | 72439.1242
2018-12-08 | 167.7 | 23226450 | 19974747 | 1357.8 | 17105.9434 | 712.7476 | 45972.223 | 64361.1122 | 14711.1114 | 612.963 | 39536.1118 | 55350.5565
2019-01-08 | 137.6 | 19057600 | 16389536 | 1083.2 | 17593.7962 | 733.0748 | 47283.3272 | 66196.658 | 15130.6647 | 630.4444 | 40663.6614 | 56929.1259
2019-02-04 | 145.5 | 20151750 | 17330505 | 1173.5 | 17172.3477 | 715.5145 | 46150.6844 | 64610.9581 | 14768.219 | 615.3425 | 39689.5886 | 55565.424
2019-03-06 | 127.9 | 17714150 | 15234169 | 1149 | 15417.0148 | 642.3756 | 41433.2273 | 58006.5182 | 13258.6327 | 552.443 | 35632.5754 | 49885.6056

## Degree Days early 2019
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | SKYHAVEN AIRPORT, NH, US (70.92W,43.28N)
Station ID: | KDAW
Date | HDD | % Estimated
2016-03-01 | 32 | 0
2016-03-02 | 30.5 | 0
2016-03-03 | 45.9 | 0
2016-03-04 | 44.2 | 0
2016-03-05 | 38.2 | 0
2016-03-06 | 34.3 | 0
2016-03-07 | 32.5 | 0
2016-03-08 | 25.8 | 0
2016-03-09 | 10.5 | 0
2016-03-10 | 7.6 | 0
2016-03-11 | 19.9 | 0
2016-03-12 | 19.7 | 0
2016-03-13 | 12.4 | 0
2016-03-14 | 29 | 0
2016-03-15 | 24.4 | 0
2016-03-16 | 18.3 | 0
2016-03-17 | 18.1 | 0
2016-03-18 | 23.5 | 0
2016-03-19 | 33.9 | 0
2016-03-20 | 37.1 | 0
2016-03-21 | 33.1 | 0
2016-03-22 | 28.5 | 0
2016-03-23 | 19.7 | 0
2016-03-24 | 31.5 | 0
2016-03-25 | 31.8 | 0
2016-03-26 | 27.2 | 0
2016-03-27 | 28.9 | 0
2016-03-28 | 28 | 0
2016-03-29 | 24.3 | 0
2016-03-30 | 20.5 | 0
2016-03-31 | 8.9 | 0
2016-04-01 | 2.6 | 0
2016-04-02 | 19 | 0
2016-04-03 | 34.3 | 0
2016-04-04 | 43.4 | 0
2016-04-05 | 39.8 | 0
2016-04-06 | 33 | 0
2016-04-07 | 19.4 | 0
2016-04-08 | 20.4 | 0
2016-04-09 | 28.3 | 1
2016-04-10 | 29.3 | 1
2016-04-11 | 20.4 | 0
2016-04-12 | 17.4 | 0
2016-04-13 | 23.6 | 0
2016-04-14 | 22 | 0
2016-04-15 | 18.6 | 0
2016-04-16 | 18.4 | 0
2016-04-17 | 17.2 | 0
2016-04-18 | 12.7 | 0
2016-04-19 | 16.7 | 0
2016-04-20 | 17.4 | 0
2016-04-21 | 12.1 | 0
2016-04-22 | 3.8 | 0
2016-04-23 | 7.6 | 0
2016-04-24 | 19.6 | 0
2016-04-25 | 16.7 | 0
2016-04-26 | 28.6 | 0
2016-04-27 | 21.6 | 0
2016-04-28 | 21.6 | 0
2016-04-29 | 21.9 | 0
2016-04-30 | 18.7 | 0
2016-05-01 | 20 | 0
2016-05-02 | 20.8 | 0
2016-05-03 | 18.4 | 0
2016-05-04 | 20.8 | 0
2016-05-05 | 19.9 | 0
2016-05-06 | 12.3 | 0
2016-05-07 | 16.7 | 0
2016-05-08 | 15.8 | 0
2016-05-09 | 16.5 | 0
2016-05-10 | 8.9 | 0
2016-05-11 | 6.7 | 0
2016-05-12 | 6.9 | 0
2016-05-13 | 6.8 | 0
2016-05-14 | 2.3 | 0
2016-05-15 | 12.5 | 0
2016-05-16 | 19.3 | 0
2016-05-17 | 10 | 0
2016-05-18 | 9.9 | 0
2016-05-19 | 9.7 | 0
2016-05-20 | 6.1 | 0
2016-05-21 | 4 | 0
2016-05-22 | 6.3 | 0
2016-05-23 | 6.2 | 0
2016-05-24 | 8.6 | 0
2016-05-25 | 4.2 | 0
2016-05-26 | 1.4 | 0
2016-05-27 | 4.3 | 0
2016-05-28 | 2.5 | 0
2016-05-29 | 8.5 | 0
2016-05-30 | 5.7 | 1
2016-05-31 | 0.2 | 0
2016-06-01 | 3.6 | 0
2016-06-02 | 8 | 0
2016-06-03 | 5.8 | 0
2016-06-04 | 3.2 | 0
2016-06-05 | 7.1 | 1
2016-06-06 | 2.7 | 0
2016-06-07 | 3.2 | 0
2016-06-08 | 3 | 0
2016-06-09 | 9.4 | 1
2016-06-10 | 6.2 | 0
2016-06-11 | 8.5 | 0
2016-06-12 | 7.5 | 0
2016-06-13 | 5.2 | 1
2016-06-14 | 3.8 | 1
2016-06-15 | 1.2 | 0
2016-06-16 | 3.8 | 0
2016-06-17 | 4.5 | 0
2016-06-18 | 4.5 | 0
2016-06-19 | 4.1 | 0
2016-06-20 | 1.3 | 0
2016-06-21 | 0.2 | 0
2016-06-22 | 4.3 | 0
2016-06-23 | 4.3 | 0
2016-06-24 | 3.7 | 0
2016-06-25 | 5 | 0
2016-06-26 | 3.5 | 0
2016-06-27 | 1.4 | 0
2016-06-28 | 0 | 0
2016-06-29 | 0 | 8
2016-06-30 | 0.9 | 0
2016-07-01 | 1.6 | 0
2016-07-02 | 1.5 | 0
2016-07-03 | 3.5 | 0
2016-07-04 | 1.4 | 0
2016-07-05 | 0.5 | 0
2016-07-06 | 0.3 | 0
2016-07-07 | 0.7 | 0
2016-07-08 | 2.1 | 0
2016-07-09 | 6.1 | 0
2016-07-10 | 5.4 | 0
2016-07-11 | 2 | 0
2016-07-12 | 1.7 | 0
2016-07-13 | 0.7 | 1
2016-07-14 | 0 | 0
2016-07-15 | 0 | 0
2016-07-16 | 0 | 1
2016-07-17 | 0 | 0
2016-07-18 | 0.4 | 2
2016-07-19 | 0.4 | 0
2016-07-20 | 1.9 | 0
2016-07-21 | 1.6 | 0
2016-07-22 | 0 | 0
2016-07-23 | 0 | 0
2016-07-24 | 0.7 | 0
2016-07-25 | 1.3 | 0
2016-07-26 | 0 | 0
2016-07-27 | 0.3 | 0
2016-07-28 | 0.2 | 0
2016-07-29 | 0 | 0
2016-07-30 | 0.1 | 0
2016-07-31 | 0.2 | 0
2016-08-01 | 0.1 | 0
2016-08-02 | 1 | 1
2016-08-03 | 3 | 0
2016-08-04 | 2 | 0
2016-08-05 | 1.3 | 0
2016-08-06 | 0 | 0
2016-08-07 | 0.6 | 0
2016-08-08 | 1.4 | 0
2016-08-09 | 2.2 | 0
2016-08-10 | 1.9 | 0
2016-08-11 | 0 | 0
2016-08-12 | 0 | 0
2016-08-13 | 0.2 | 0
2016-08-14 | 0.1 | 0
2016-08-15 | 0 | 0
2016-08-16 | 1 | 0
2016-08-17 | 0.1 | 0
2016-08-18 | 1.4 | 0
2016-08-19 | 0.2 | 0
2016-08-20 | 1.5 | 0
2016-08-21 | 1 | 0
2016-08-22 | 0.7 | 0
2016-08-23 | 3 | 0
2016-08-24 | 1.7 | 0
2016-08-25 | 0.3 | 1
2016-08-26 | 0 | 0
2016-08-27 | 0.8 | 0
2016-08-28 | 1.2 | 0
2016-08-29 | 0.3 | 0
2016-08-30 | 3.3 | 0
2016-08-31 | 1.5 | 0
2016-09-01 | 0.1 | 0
2016-09-02 | 1.7 | 0
2016-09-03 | 5.7 | 0
2016-09-04 | 5.6 | 0
2016-09-05 | 5 | 0
2016-09-06 | 1.2 | 0
2016-09-07 | 0 | 0
2016-09-08 | 0 | 0
2016-09-09 | 0 | 0
2016-09-10 | 0.5 | 0
2016-09-11 | 0.9 | 0
2016-09-12 | 6.5 | 0
2016-09-13 | 5.2 | 0
2016-09-14 | 2.1 | 0
2016-09-15 | 8.2 | 1
2016-09-16 | 9 | 0
2016-09-17 | 5.3 | 0
2016-09-18 | 0.3 | 0
2016-09-19 | 0 | 0
2016-09-20 | 0 | 0
2016-09-21 | 0.5 | 0
2016-09-22 | 2.4 | 0
2016-09-23 | 2.6 | 0
2016-09-24 | 9.7 | 0
2016-09-25 | 14.3 | 0
2016-09-26 | 14 | 0
2016-09-27 | 6.3 | 0
2016-09-28 | 10.1 | 0
2016-09-29 | 11.7 | 0
2016-09-30 | 14.1 | 0
2016-10-01 | 13.5 | 0
2016-10-02 | 13 | 0
2016-10-03 | 7.3 | 0
2016-10-04 | 10.6 | 0
2016-10-05 | 15 | 1
2016-10-06 | 12 | 0
2016-10-07 | 8.5 | 0
2016-10-08 | 9.2 | 0
2016-10-09 | 11.6 | 0
2016-10-10 | 17.9 | 0
2016-10-11 | 17.9 | 0
2016-10-12 | 14.1 | 0
2016-10-13 | 9.8 | 0
2016-10-14 | 17.2 | 0
2016-10-15 | 23.2 | 0
2016-10-16 | 13.7 | 0
2016-10-17 | 2.7 | 0
2016-10-18 | 10.9 | 0
2016-10-19 | 4.6 | 0
2016-10-20 | 13.1 | 0
2016-10-21 | 5.2 | 0
2016-10-22 | 8.7 | 0
2016-10-23 | 19.4 | 0
2016-10-24 | 17.8 | 0
2016-10-25 | 24.1 | 0
2016-10-26 | 25.9 | 0
2016-10-27 | 27.1 | 0
2016-10-28 | 19.7 | 0
2016-10-29 | 22.1 | 0
2016-10-30 | 17.8 | 0
2016-10-31 | 23.5 | 0
2016-11-01 | 28.2 | 0
2016-11-02 | 15.1 | 0
2016-11-03 | 16.8 | 0
2016-11-04 | 21.1 | 0
2016-11-05 | 25.6 | 0
2016-11-06 | 21.8 | 0
2016-11-07 | 27.2 | 0
2016-11-08 | 21.4 | 0
2016-11-09 | 18.2 | 0
2016-11-10 | 22.5 | 0
2016-11-11 | 22 | 0
2016-11-12 | 26.4 | 1
2016-11-13 | 17.2 | 0
2016-11-14 | 18.6 | 0
2016-11-15 | 18.1 | 0
2016-11-16 | 13.1 | 0
2016-11-17 | 16.7 | 0
2016-11-18 | 17.3 | 0
2016-11-19 | 17.8 | 0
2016-11-20 | 22.9 | 0
2016-11-21 | 33.6 | 0
2016-11-22 | 31.8 | 0
2016-11-23 | 31.1 | 0
2016-11-24 | 33.2 | 0
2016-11-25 | 30 | 0
2016-11-26 | 26.9 | 0
2016-11-27 | 28.5 | 0
2016-11-28 | 31.1 | 0
2016-11-29 | 29.3 | 0
2016-11-30 | 25.7 | 0
2016-12-01 | 19.7 | 0
2016-12-02 | 23.4 | 0
2016-12-03 | 27.3 | 1
2016-12-04 | 33.4 | 0
2016-12-05 | 37.9 | 0
2016-12-06 | 32.3 | 0
2016-12-07 | 32.7 | 0
2016-12-08 | 30.6 | 0
2016-12-09 | 37.2 | 0
2016-12-10 | 45.2 | 0
2016-12-11 | 43.6 | 0
2016-12-12 | 35.5 | 0
2016-12-13 | 32.8 | 0
2016-12-14 | 34.6 | 0
2016-12-15 | 47.2 | 0
2016-12-16 | 62.7 | 0
2016-12-17 | 49.7 | 0
2016-12-18 | 30.8 | 0
2016-12-19 | 50 | 0
2016-12-20 | 49.3 | 0
2016-12-21 | 35 | 0
2016-12-22 | 36.5 | 0
2016-12-23 | 31.3 | 0
2016-12-24 | 30.9 | 0
2016-12-25 | 32.4 | 1
2016-12-26 | 41.1 | 0
2016-12-27 | 21 | 0
2016-12-28 | 30.2 | 0
2016-12-29 | 37.4 | 0
2016-12-30 | 34 | 0
2016-12-31 | 39.6 | 0
2017-01-01 | 30.6 | 0
2017-01-02 | 37.4 | 0
2017-01-03 | 30.3 | 0
2017-01-04 | 27.5 | 0
2017-01-05 | 38.1 | 0
2017-01-06 | 41.9 | 0
2017-01-07 | 50.2 | 0
2017-01-08 | 51.3 | 0
2017-01-09 | 54.5 | 0
2017-01-10 | 46.1 | 0
2017-01-11 | 21 | 0
2017-01-12 | 18.9 | 0
2017-01-13 | 28.4 | 1
2017-01-14 | 46.2 | 0
2017-01-15 | 40.5 | 0
2017-01-16 | 39.6 | 0
2017-01-17 | 32.1 | 0
2017-01-18 | 36 | 0
2017-01-19 | 31.7 | 0
2017-01-20 | 30.7 | 0
2017-01-21 | 26.3 | 0
2017-01-22 | 29.5 | 0
2017-01-23 | 34.4 | 0
2017-01-24 | 34 | 0
2017-01-25 | 29.8 | 0
2017-01-26 | 26.3 | 1
2017-01-27 | 28.2 | 0
2017-01-28 | 30.3 | 0
2017-01-29 | 33.2 | 0
2017-01-30 | 37.9 | 0
2017-01-31 | 44.9 | 0
2017-02-01 | 37.9 | 0
2017-02-02 | 37.6 | 0
2017-02-03 | 41.4 | 0
2017-02-04 | 42.8 | 0
2017-02-05 | 35.4 | 0
2017-02-06 | 37.1 | 0
2017-02-07 | 44.7 | 0
2017-02-08 | 31.7 | 0
2017-02-09 | 43.9 | 0
2017-02-10 | 55.5 | 0
2017-02-11 | 52.6 | 0
2017-02-12 | 45.2 | 0
2017-02-13 | 41 | 0
2017-02-14 | 42 | 0
2017-02-15 | 35.9 | 0
2017-02-16 | 36.8 | 0
2017-02-17 | 36.3 | 0
2017-02-18 | 27 | 0
2017-02-19 | 19.4 | 0
2017-02-20 | 29.3 | 0
2017-02-21 | 34.5 | 0
2017-02-22 | 25.1 | 0
2017-02-23 | 18.6 | 0
2017-02-24 | 13.4 | 0
2017-02-25 | 13 | 0
2017-02-26 | 28.8 | 0
2017-02-27 | 26.1 | 0
2017-02-28 | 24.6 | 0
2017-03-01 | 15.3 | 0
2017-03-02 | 25.1 | 0
2017-03-03 | 41 | 0
2017-03-04 | 55.3 | 0
2017-03-05 | 47.4 | 0
2017-03-06 | 40.1 | 0
2017-03-07 | 30.7 | 0
2017-03-08 | 20.8 | 0
2017-03-09 | 25.5 | 4
2017-03-10 | 37.5 | 0
2017-03-11 | 56.4 | 0
2017-03-12 | 50.7 | 0
2017-03-13 | 44.6 | 0
2017-03-14 | 40.2 | 0
2017-03-15 | 41 | 0
2017-03-16 | 41.9 | 0
2017-03-17 | 38.2 | 0
2017-03-18 | 39.3 | 0
2017-03-19 | 32.9 | 0
2017-03-20 | 26.2 | 0
2017-03-21 | 23.7 | 0
2017-03-22 | 39.6 | 0
2017-03-23 | 41.2 | 0
2017-03-24 | 35.7 | 0
2017-03-25 | 30.4 | 0
2017-03-26 | 33.7 | 0
2017-03-27 | 30 | 0
2017-03-28 | 29.7 | 0
2017-03-29 | 26.8 | 0
2017-03-30 | 26.9 | 0
2017-03-31 | 30.7 | 0
2017-04-01 | 32.2 | 0
2017-04-02 | 25.2 | 0
2017-04-03 | 22.8 | 0
2017-04-04 | 27.9 | 0
2017-04-05 | 27.4 | 0
2017-04-06 | 27.9 | 0
2017-04-07 | 20.3 | 0
2017-04-08 | 25.1 | 0
2017-04-09 | 16.9 | 0
2017-04-10 | 9.2 | 0
2017-04-11 | 2.7 | 0
2017-04-12 | 7.3 | 0
2017-04-13 | 17.5 | 0
2017-04-14 | 17.7 | 0
2017-04-15 | 13 | 0
2017-04-16 | 4.4 | 1
2017-04-17 | 4 | 0
2017-04-18 | 22.7 | 0
2017-04-19 | 25.2 | 0
2017-04-20 | 17.1 | 0
2017-04-21 | 23.6 | 0
2017-04-22 | 24.7 | 0
2017-04-23 | 16.6 | 0
2017-04-24 | 12.1 | 0
2017-04-25 | 21.4 | 0
2017-04-26 | 15.6 | 0
2017-04-27 | 9.5 | 0
2017-04-28 | 5.5 | 0
2017-04-29 | 2.4 | 0
2017-04-30 | 17.6 | 0
2017-05-01 | 21.2 | 0
2017-05-02 | 14.1 | 0
2017-05-03 | 13.2 | 0
2017-05-04 | 14.1 | 0
2017-05-05 | 18.5 | 0
2017-05-06 | 12.7 | 0
2017-05-07 | 9.9 | 0
2017-05-08 | 18.3 | 0
2017-05-09 | 20.7 | 0
2017-05-10 | 15.9 | 0
2017-05-11 | 14.8 | 0
2017-05-12 | 13.1 | 0
2017-05-13 | 16.6 | 0
2017-05-14 | 20.2 | 0
2017-05-15 | 14.8 | 0
2017-05-16 | 4.5 | 1
2017-05-17 | 2.3 | 0
2017-05-18 | 0 | 0
2017-05-19 | 1.6 | 0
2017-05-20 | 8.3 | 0
2017-05-21 | 9 | 0
2017-05-22 | 14 | 0
2017-05-23 | 8.2 | 0
2017-05-24 | 6.6 | 0
2017-05-25 | 13.4 | 0
2017-05-26 | 13.2 | 0
2017-05-27 | 8.2 | 0
2017-05-28 | 11.1 | 0
2017-05-29 | 16.7 | 0
2017-05-30 | 13.1 | 0
2017-05-31 | 6 | 0
2017-06-01 | 5.7 | 0
2017-06-02 | 7.1 | 0
2017-06-03 | 9.2 | 0
2017-06-04 | 5.7 | 0
2017-06-05 | 11 | 0
2017-06-06 | 16.2 | 0
2017-06-07 | 7.4 | 0
2017-06-08 | 6 | 0
2017-06-09 | 4.8 | 0
2017-06-10 | 1.5 | 0
2017-06-11 | 0.4 | 0
2017-06-12 | 0 | 0
2017-06-13 | 0 | 0
2017-06-14 | 2.5 | 0
2017-06-15 | 6.4 | 0
2017-06-16 | 5.9 | 0
2017-06-17 | 3.5 | 0
2017-06-18 | 0.6 | 0
2017-06-19 | 0 | 0
2017-06-20 | 0 | 0
2017-06-21 | 1.2 | 0
2017-06-22 | 0.7 | 0
2017-06-23 | 0.2 | 0
2017-06-24 | 0 | 0
2017-06-25 | 0.3 | 0
2017-06-26 | 1.2 | 0
2017-06-27 | 4.6 | 0
2017-06-28 | 4.8 | 0
2017-06-29 | 3.9 | 0
2017-06-30 | 1.2 | 0
2017-07-01 | 0 | 0
2017-07-02 | 0 | 0
2017-07-03 | 0.2 | 0
2017-07-04 | 1.1 | 0
2017-07-05 | 2.6 | 0
2017-07-06 | 1.2 | 0
2017-07-07 | 1.3 | 0
2017-07-08 | 1.6 | 0
2017-07-09 | 0.4 | 0
2017-07-10 | 0.9 | 0
2017-07-11 | 0 | 0
2017-07-12 | 0.2 | 0
2017-07-13 | 5 | 0
2017-07-14 | 4.2 | 0
2017-07-15 | 1.8 | 0
2017-07-16 | 0.8 | 0
2017-07-17 | 0.2 | 0
2017-07-18 | 0 | 0
2017-07-19 | 0 | 0
2017-07-20 | 0 | 0
2017-07-21 | 0.1 | 0
2017-07-22 | 0 | 0
2017-07-23 | 0.7 | 0
2017-07-24 | 7 | 0
2017-07-25 | 5 | 0
2017-07-26 | 3.3 | 0
2017-07-27 | 1.8 | 0
2017-07-28 | 0.3 | 0
2017-07-29 | 2.6 | 0
2017-07-30 | 3.6 | 0
2017-07-31 | 3.3 | 0
2017-08-01 | 0.1 | 0
2017-08-02 | 0.7 | 0
2017-08-03 | 0.4 | 0
2017-08-04 | 0 | 0
2017-08-05 | 0 | 0
2017-08-06 | 2.2 | 0
2017-08-07 | 3.4 | 0
2017-08-08 | 1.8 | 0
2017-08-09 | 2.6 | 0
2017-08-10 | 0.7 | 0
2017-08-11 | 0.3 | 0
2017-08-12 | 0.2 | 0
2017-08-13 | 0.3 | 0
2017-08-14 | 2.9 | 0
2017-08-15 | 1.6 | 0
2017-08-16 | 0.8 | 0
2017-08-17 | 3.8 | 0
2017-08-18 | 1.6 | 0
2017-08-19 | 1 | 0
2017-08-20 | 0.5 | 0
2017-08-21 | 1.5 | 0
2017-08-22 | 0.4 | 0
2017-08-23 | 0.3 | 0
2017-08-24 | 2.3 | 0
2017-08-25 | 3.5 | 0
2017-08-26 | 6.5 | 0
2017-08-27 | 5.9 | 0
2017-08-28 | 6.6 | 0
2017-08-29 | 8.4 | 0
2017-08-30 | 5.6 | 0
2017-08-31 | 6 | 0
2017-09-01 | 9.9 | 0
2017-09-02 | 9 | 0
2017-09-03 | 9.9 | 0
2017-09-04 | 4 | 0
2017-09-05 | 0.9 | 0
2017-09-06 | 1.9 | 0
2017-09-07 | 3.3 | 0
2017-09-08 | 6.7 | 0
2017-09-09 | 7 | 0
2017-09-10 | 6.2 | 0
2017-09-11 | 5.1 | 1
2017-09-12 | 4.4 | 1
2017-09-13 | 3.7 | 0
2017-09-14 | 1.3 | 0
2017-09-15 | 0 | 0
2017-09-16 | 0 | 0
2017-09-17 | 1.3 | 0
2017-09-18 | 2 | 0
2017-09-19 | 1.5 | 0
2017-09-20 | 0 | 0
2017-09-21 | 0.3 | 0
2017-09-22 | 2.3 | 0
2017-09-23 | 1.2 | 0
2017-09-24 | 1.1 | 0
2017-09-25 | 0 | 1
2017-09-26 | 1.4 | 0
2017-09-27 | 0.5 | 0
2017-09-28 | 2.5 | 0
2017-09-29 | 12.2 | 0
2017-09-30 | 16.5 | 0
2017-10-01 | 14.2 | 0
2017-10-02 | 11.7 | 0
2017-10-03 | 11.5 | 0
2017-10-04 | 6.9 | 0
2017-10-05 | 1.6 | 0
2017-10-06 | 7.1 | 1
2017-10-07 | 6 | 0
2017-10-08 | 0.3 | 0
2017-10-09 | 0.6 | 0
2017-10-10 | 1.3 | 0
2017-10-11 | 7.2 | 0
2017-10-12 | 16.7 | 0
2017-10-13 | 17.7 | 0
2017-10-14 | 6.1 | 0
2017-10-15 | 4.2 | 0
2017-10-16 | 11.1 | 0
2017-10-17 | 21.9 | 0
2017-10-18 | 13.5 | 1
2017-10-19 | 10.4 | 0
2017-10-20 | 5.6 | 0
2017-10-21 | 5.1 | 1
2017-10-22 | 9.5 | 0
2017-10-23 | 8.7 | 0
2017-10-24 | 2.2 | 0
2017-10-25 | 1.7 | 0
2017-10-26 | 9.1 | 0
2017-10-27 | 16.1 | 1
2017-10-28 | 16.1 | 0
2017-10-29 | 8.4 | 0
2017-10-30 | 8.9 | 2
2017-10-31 | 19 | 0
2017-11-01 | 22 | 0
2017-11-02 | 8.8 | 6
2017-11-03 | 4.9 | 0
2017-11-04 | 19.9 | 0
2017-11-05 | 17.6 | 0
2017-11-06 | 7.2 | 0
2017-11-07 | 25.8 | 0
2017-11-08 | 29.2 | 0
2017-11-09 | 29.1 | 0
2017-11-10 | 33.7 | 0
2017-11-11 | 39 | 3
2017-11-12 | 34.3 | 0
2017-11-13 | 33.5 | 0
2017-11-14 | 29.4 | 0
2017-11-15 | 30.3 | 0
2017-11-16 | 27.4 | 0
2017-11-17 | 30.6 | 1
2017-11-18 | 32 | 0
2017-11-19 | 20.2 | 0
2017-11-20 | 30.9 | 0
2017-11-21 | 23.3 | 0
2017-11-22 | 26.5 | 0
2017-11-23 | 32.8 | 0
2017-11-24 | 30 | 0
2017-11-25 | 21.7 | 0
2017-11-26 | 26.1 | 0
2017-11-27 | 33.9 | 0
2017-11-28 | 38.1 | 0
2017-11-29 | 22.8 | 0
2017-11-30 | 31.3 | 1
2017-12-01 | 25 | 0
2017-12-02 | 33 | 0
2017-12-03 | 32 | 0
2017-12-04 | 33 | 0
2017-12-05 | 24.8 | 0
2017-12-06 | 21.8 | 0
2017-12-07 | 30.6 | 0
2017-12-08 | 33.1 | 0
2017-12-09 | 34.9 | 0
2017-12-10 | 34.7 | 0
2017-12-11 | 34.5 | 0
2017-12-12 | 39.6 | 0
2017-12-13 | 42.7 | 0
2017-12-14 | 46.5 | 0
2017-12-15 | 47.6 | 0
2017-12-16 | 43.3 | 0
2017-12-17 | 48.3 | 0
2017-12-18 | 45.8 | 0
2017-12-19 | 30.2 | 0
2017-12-20 | 31.5 | 0
2017-12-21 | 43.7 | 0
2017-12-22 | 46.3 | 0
2017-12-23 | 37.5 | 0
2017-12-24 | 34.6 | 0
2017-12-25 | 41.8 | 0
2017-12-26 | 47.5 | 0
2017-12-27 | 57 | 0
2017-12-28 | 64.5 | 0
2017-12-29 | 66.3 | 0
2017-12-30 | 61.3 | 0
2017-12-31 | 62.5 | 0
2018-01-01 | 65 | 0
2018-01-02 | 60.4 | 0
2018-01-03 | 50.7 | 7
2018-01-04 | 44.5 | 0
2018-01-05 | 55.5 | 0
2018-01-06 | 65.6 | 0
2018-01-07 | 60.9 | 0
2018-01-08 | 42 | 0
2018-01-09 | 33.5 | 0
2018-01-10 | 36.9 | 0
2018-01-11 | 23.8 | 0
2018-01-12 | 14.6 | 0
2018-01-13 | 27.9 | 0
2018-01-14 | 50.7 | 0
2018-01-15 | 52.6 | 0
2018-01-16 | 42.6 | 0
2018-01-17 | 36.9 | 0
2018-01-18 | 41.9 | 0
2018-01-19 | 40.4 | 0
2018-01-20 | 27.6 | 0
2018-01-21 | 27.9 | 0
2018-01-22 | 36.1 | 0
2018-01-23 | 35.8 | 0
2018-01-24 | 36.3 | 0
2018-01-25 | 47.1 | 1
2018-01-26 | 44.2 | 0
2018-01-27 | 31.5 | 0
2018-01-28 | 21.7 | 0
2018-01-29 | 35.2 | 1
2018-01-30 | 41.7 | 0
2018-01-31 | 42.6 | 0
2018-02-01 | 34.2 | 0
2018-02-02 | 44 | 0
2018-02-03 | 51.9 | 0
2018-02-04 | 33.5 | 0
2018-02-05 | 33.2 | 0
2018-02-06 | 40.8 | 0
2018-02-07 | 43.3 | 0
2018-02-08 | 43.7 | 0
2018-02-09 | 44.7 | 0
2018-02-10 | 30.4 | 0
2018-02-11 | 29.4 | 0
2018-02-12 | 30.8 | 0
2018-02-13 | 40.9 | 0
2018-02-14 | 31.9 | 0
2018-02-15 | 25.1 | 0
2018-02-16 | 24.3 | 0
2018-02-17 | 36.9 | 0
2018-02-18 | 33.4 | 0
2018-02-19 | 31.5 | 0
2018-02-20 | 21.2 | 0
2018-02-21 | 15.3 | 0
2018-02-22 | 29.6 | 0
2018-02-23 | 33.8 | 0
2018-02-24 | 24.5 | 0
2018-02-25 | 31.7 | 0
2018-02-26 | 26.5 | 0
2018-02-27 | 25.5 | 0
2018-02-28 | 18.2 | 0
2018-03-01 | 19.2 | 1
2018-03-02 | 28 | 0
2018-03-03 | 24.8 | 0
2018-03-04 | 26.1 | 0
2018-03-05 | 29.9 | 0
2018-03-06 | 31.4 | 1
2018-03-07 | 33.5 | 0
2018-03-08 | 34.3 | 0
2018-03-09 | 35.6 | 0
2018-03-10 | 31.8 | 1
2018-03-11 | 29.3 | 0
2018-03-12 | 33.1 | 0
2018-03-13 | 34.9 | 0
2018-03-14 | 32.3 | 0
2018-03-15 | 30.2 | 0
2018-03-16 | 35.7 | 0
2018-03-17 | 41.9 | 1
2018-03-18 | 47.7 | 0
2018-03-19 | 42.4 | 0
2018-03-20 | 36.1 | 0
2018-03-21 | 32.5 | 0
2018-03-22 | 27.1 | 0
2018-03-23 | 28.7 | 0
2018-03-24 | 27.9 | 0
2018-03-25 | 31.8 | 0
2018-03-26 | 32.5 | 1
2018-03-27 | 30.3 | 0
2018-03-28 | 23.3 | 0
2018-03-29 | 23.7 | 0
2018-03-30 | 19.8 | 0
2018-03-31 | 21.7 | 0
2018-04-01 | 19.3 | 0
2018-04-02 | 31.2 | 0
2018-04-03 | 29.4 | 0
2018-04-04 | 25 | 0
2018-04-05 | 32.1 | 0
2018-04-06 | 33 | 0
2018-04-07 | 26.7 | 0
2018-04-08 | 31.4 | 0
2018-04-09 | 32.1 | 0
2018-04-10 | 30.1 | 1
2018-04-11 | 28.2 | 0
2018-04-12 | 23 | 0
2018-04-13 | 14.6 | 0
2018-04-14 | 22.4 | 0
2018-04-15 | 36.7 | 0
2018-04-16 | 28.2 | 0
2018-04-17 | 22.9 | 0
2018-04-18 | 22.8 | 0
2018-04-19 | 25.1 | 0
2018-04-20 | 23.4 | 0
2018-04-21 | 19.1 | 0
2018-04-22 | 17.8 | 0
2018-04-23 | 16.7 | 1
2018-04-24 | 11.3 | 0
2018-04-25 | 14 | 0
2018-04-26 | 11.1 | 0
2018-04-27 | 15.5 | 0
2018-04-28 | 11.9 | 0
2018-04-29 | 17 | 0
2018-04-30 | 23 | 0
2018-05-01 | 13.9 | 0
2018-05-02 | 3 | 0
2018-05-03 | 0.1 | 0
2018-05-04 | 1.3 | 1
2018-05-05 | 3 | 0
2018-05-06 | 6.6 | 0
2018-05-07 | 8.9 | 0
2018-05-08 | 11.7 | 0
2018-05-09 | 10.1 | 1
2018-05-10 | 10.5 | 0
2018-05-11 | 6.9 | 0
2018-05-12 | 18.2 | 0
2018-05-13 | 15.5 | 0
2018-05-14 | 8.4 | 0
2018-05-15 | 4.9 | 0
2018-05-16 | 11.8 | 0
2018-05-17 | 7.1 | 1
2018-05-18 | 9.6 | 0
2018-05-19 | 16.5 | 0
2018-05-20 | 5.7 | 0
2018-05-21 | 4.5 | 0
2018-05-22 | 6.7 | 0
2018-05-23 | 4.4 | 0
2018-05-24 | 7.3 | 0
2018-05-25 | 3.7 | 0
2018-05-26 | 0.3 | 0
2018-05-27 | 11.3 | 0
2018-05-28 | 11.5 | 0
2018-05-29 | 3.8 | 0
2018-05-30 | 3.9 | 0
2018-05-31 | 4.2 | 0
2018-06-01 | 0 | 0
2018-06-02 | 0.5 | 0
2018-06-03 | 9.4 | 0
2018-06-04 | 16.6 | 0
2018-06-05 | 14.4 | 0
2018-06-06 | 8.5 | 0
2018-06-07 | 6.3 | 100
2018-06-08 | 4.1 | 0
2018-06-09 | 4.2 | 0
2018-06-10 | 6 | 0
2018-06-11 | 7.2 | 0
2018-06-12 | 4.9 | 1
2018-06-13 | 0.9 | 0
2018-06-14 | 0.9 | 0
2018-06-15 | 6.9 | 0
2018-06-16 | 3.6 | 0
2018-06-17 | 3.2 | 0
2018-06-18 | 2.5 | 0
2018-06-19 | 0.4 | 0
2018-06-20 | 3.3 | 1
2018-06-21 | 1.2 | 0
2018-06-22 | 5 | 0
2018-06-23 | 7.8 | 0
2018-06-24 | 3.4 | 0
2018-06-25 | 2.4 | 0
2018-06-26 | 5.3 | 1
2018-06-27 | 2.5 | 1
2018-06-28 | 0.8 | 0
2018-06-29 | 0 | 0
2018-06-30 | 0 | 0
2018-07-01 | 0 | 0
2018-07-02 | 0 | 0
2018-07-03 | 0 | 0
2018-07-04 | 0 | 0
2018-07-05 | 0 | 1
2018-07-06 | 0.4 | 0
2018-07-07 | 3.7 | 0
2018-07-08 | 3.1 | 0
2018-07-09 | 1.1 | 0
2018-07-10 | 0.3 | 0
2018-07-11 | 0.6 | 0
2018-07-12 | 2.1 | 0
2018-07-13 | 1.8 | 1
2018-07-14 | 2.9 | 0
2018-07-15 | 0.7 | 0
2018-07-16 | 0.7 | 0
2018-07-17 | 0 | 0
2018-07-18 | 0.4 | 0
2018-07-19 | 3.3 | 0
2018-07-20 | 3.1 | 0
2018-07-21 | 3.7 | 0
2018-07-22 | 2.4 | 0
2018-07-23 | 0 | 0
2018-07-24 | 0 | 0
2018-07-25 | 0 | 0
2018-07-26 | 0 | 0
2018-07-27 | 0.1 | 0
2018-07-28 | 0 | 0
2018-07-29 | 0.1 | 0
2018-07-30 | 1.6 | 0
2018-07-31 | 0.5 | 0
2018-08-01 | 0.3 | 0
2018-08-02 | 0 | 1
2018-08-03 | 0 | 0
2018-08-04 | 0 | 0
2018-08-05 | 0 | 0
2018-08-06 | 0 | 0
2018-08-07 | 0 | 0
2018-08-08 | 0 | 0
2018-08-09 | 0 | 0
2018-08-10 | 0.2 | 0
2018-08-11 | 1.7 | 0
2018-08-12 | 0.2 | 0
2018-08-13 | 0 | 0
2018-08-14 | 0 | 0
2018-08-15 | 0 | 0
2018-08-16 | 0.1 | 0
2018-08-17 | 1.3 | 0
2018-08-18 | 0 | 0
2018-08-19 | 1.5 | 0
2018-08-20 | 2 | 0
2018-08-21 | 3.9 | 0
2018-08-22 | 0.5 | 0
2018-08-23 | 1.8 | 1
2018-08-24 | 4 | 0
2018-08-25 | 1.6 | 0
2018-08-26 | 1.5 | 0
2018-08-27 | 0 | 0
2018-08-28 | 0 | 1
2018-08-29 | 0 | 0
2018-08-30 | 0.1 | 0
2018-08-31 | 3.6 | 0
2018-09-01 | 5.1 | 0
2018-09-02 | 2.2 | 0
2018-09-03 | 0 | 0
2018-09-04 | 0 | 0
2018-09-05 | 0.1 | 0
2018-09-06 | 0 | 0
2018-09-07 | 2.8 | 0
2018-09-08 | 5.7 | 0
2018-09-09 | 11.5 | 0
2018-09-10 | 9.7 | 0
2018-09-11 | 2.3 | 0
2018-09-12 | 0 | 0
2018-09-13 | 0.6 | 0
2018-09-14 | 3.3 | 0
2018-09-15 | 1.9 | 0
2018-09-16 | 1.4 | 0
2018-09-17 | 0.9 | 0
2018-09-18 | 0 | 0
2018-09-19 | 3.6 | 0
2018-09-20 | 7.2 | 0
2018-09-21 | 4.4 | 0
2018-09-22 | 3.8 | 0
2018-09-23 | 11.5 | 0
2018-09-24 | 16.5 | 0
2018-09-25 | 12.9 | 0
2018-09-26 | 0.1 | 0
2018-09-27 | 3.7 | 0
2018-09-28 | 9.2 | 0
2018-09-29 | 8.5 | 0
2018-09-30 | 10.5 | 0
2018-10-01 | 12.2 | 0
2018-10-02 | 13.7 | 0
2018-10-03 | 9.2 | 0
2018-10-04 | 3.3 | 0
2018-10-05 | 11.9 | 0
2018-10-06 | 13.1 | 0
2018-10-07 | 5.7 | 0
2018-10-08 | 15.1 | 0
2018-10-09 | 5 | 0
2018-10-10 | 0.5 | 0
2018-10-11 | 11.8 | 0
2018-10-12 | 12.5 | 0
2018-10-13 | 20.9 | 0
2018-10-14 | 20 | 0
2018-10-15 | 19.8 | 0
2018-10-16 | 16.1 | 0
2018-10-17 | 21 | 1
2018-10-18 | 28.4 | 0
2018-10-19 | 21 | 0
2018-10-20 | 11.6 | 0
2018-10-21 | 23.9 | 0
2018-10-22 | 25.4 | 0
2018-10-23 | 22.1 | 0
2018-10-24 | 24 | 0
2018-10-25 | 28 | 1
2018-10-26 | 28.8 | 0
2018-10-27 | 28.2 | 0
2018-10-28 | 24.3 | 0
2018-10-29 | 21.2 | 0
2018-10-30 | 25.4 | 0
2018-10-31 | 27.7 | 1
2018-11-01 | 18.8 | 0
2018-11-02 | 16.2 | 0
2018-11-03 | 15.9 | 2
2018-11-04 | 25.1 | 0
2018-11-05 | 28.2 | 0
2018-11-06 | 19 | 0
2018-11-07 | 14 | 0
2018-11-08 | 21.5 | 0
2018-11-09 | 26.3 | 0
2018-11-10 | 25.1 | 2
2018-11-11 | 31.3 | 0
2018-11-12 | 30.2 | 0
2018-11-13 | 25.5 | 0
2018-11-14 | 39.8 | 0
2018-11-15 | 41.6 | 0
2018-11-16 | 35.4 | 0
2018-11-17 | 28.2 | 0
2018-11-18 | 32.8 | 0
2018-11-19 | 32.7 | 0
2018-11-20 | 33.1 | 0
2018-11-21 | 38 | 0
2018-11-22 | 54.3 | 0
2018-11-23 | 47.5 | 0
2018-11-24 | 36.6 | 0
2018-11-25 | 27.3 | 0
2018-11-26 | 29.6 | 0
2018-11-27 | 30.7 | 0
2018-11-28 | 29.6 | 0
2018-11-29 | 28.1 | 14
2018-11-30 | 28.8 | 53
2018-12-01 | 31.5 | 0
2018-12-02 | 27.8 | 0
2018-12-03 | 24.7 | 0
2018-12-04 | 36.5 | 0
2018-12-05 | 42.1 | 0
2018-12-06 | 36.2 | 0
2018-12-07 | 37 | 0
2018-12-08 | 47.2 | 0
2018-12-09 | 42.3 | 0
2018-12-10 | 39.7 | 1
2018-12-11 | 43.8 | 0
2018-12-12 | 42.4 | 0
2018-12-13 | 46.5 | 0
2018-12-14 | 31.9 | 0
2018-12-15 | 24.6 | 0
2018-12-16 | 31 | 0
2018-12-17 | 30.3 | 0
2018-12-18 | 41.3 | 0
2018-12-19 | 37.4 | 0
2018-12-20 | 33.3 | 0
2018-12-21 | 17.7 | 0
2018-12-22 | 19.6 | 0
2018-12-23 | 35.6 | 0
2018-12-24 | 35.3 | 0
2018-12-25 | 38.8 | 0
2018-12-26 | 38.7 | 0
2018-12-27 | 38.8 | 0
2018-12-28 | 32.6 | 0
2018-12-29 | 28.4 | 0
2018-12-30 | 40.1 | 0
2018-12-31 | 32.6 | 0
2019-01-01 | 28 | 0
2019-01-02 | 39.8 | 0
2019-01-03 | 34.6 | 0
2019-01-04 | 29.2 | 0
2019-01-05 | 31.3 | 0
2019-01-06 | 33.1 | 0
2019-01-07 | 45.4 | 0
2019-01-08 | 39.1 | 0
2019-01-09 | 30.6 | 0
2019-01-10 | 37.3 | 0
2019-01-11 | 49.8 | 0
2019-01-12 | 52.8 | 0
2019-01-13 | 50.3 | 0
2019-01-14 | 46.7 | 0
2019-01-15 | 41.9 | 0
2019-01-16 | 37 | 0
2019-01-17 | 48.5 | 0
2019-01-18 | 39.7 | 0
2019-01-19 | 41.5 | 1
2019-01-20 | 52.4 | 0
2019-01-21 | 63.5 | 0
2019-01-22 | 52.7 | 0
2019-01-23 | 38 | 0
2019-01-24 | 19.7 | 0
2019-01-25 | 32.6 | 0
2019-01-26 | 42.5 | 0
2019-01-27 | 36.8 | 0
2019-01-28 | 41.9 | 0
2019-01-29 | 51.6 | 0
2019-01-30 | 43.5 | 0
2019-01-31 | 58.9 | 0
2019-02-01 | 55 | 0
2019-02-02 | 48.1 | 0
2019-02-03 | 37.9 | 0
2019-02-04 | 22.3 | 0
2019-02-05 | 19.5 | 0
2019-02-06 | 33.5 | 0
2019-02-07 | 31.5 | 0
2019-02-08 | 28.7 | 0
2019-02-09 | 41.3 | 0
2019-02-10 | 41.7 | 0
2019-02-11 | 41.1 | 0
2019-02-12 | 48 | 0
2019-02-13 | 34.3 | 0
2019-02-14 | 36.3 | 0
2019-02-15 | 31.6 | 0
2019-02-16 | 32.3 | 1
2019-02-17 | 40.9 | 1
2019-02-18 | 42.9 | 0
2019-02-19 | 46.9 | 0
2019-02-20 | 44.6 | 0
2019-02-21 | 33.1 | 0
2019-02-22 | 30.1 | 0
2019-02-23 | 35.2 | 0
2019-02-24 | 31.3 | 0
2019-02-25 | 33.4 | 0
2019-02-26 | 48.5 | 0
2019-02-27 | 53.9 | 0
2019-02-28 | 46.6 | 0
2019-03-01 | 42.5 | 0
2019-03-02 | 37.7 | 0
2019-03-03 | 34 | 0
2019-03-04 | 33.9 | 0
2019-03-05 | 44 | 0
2019-03-06 | 49.7 | 0
2019-03-07 | 50.9 | 0
2019-03-08 | 42.5 | 0
2019-03-09 | 34.8 | 0

## Radiators
Upstairs
19 inches tall
6 columns per section
18 sections
radiatorest.pdf |  |  |  | Bathroom used Burnham slenderized radiator |  |  |  |  | Downstairs bath using old style burnham slenderized
6 tube @ 20 inches tall is closest |  |  |  | 10 section 25” high, 4 columns |  |  |  |  | 8 sections
3 | square feet EDR per section |  |  | 20 | Edr |  |  |  | 22 inches high
5 columns
54 | Total for all sections |  |  | Old style burnham slenderized |  |  |  |  | 19.2 | EDR
18
Heat Emissions for Cast Iron Radiators |  |  | Office | Weight Room | Allen | Tracey | bathroom
DESIGN OR AVERAGE WATER TEMPERATURE | HEAT EMISSION RATES BTUH PER SQ. FT. | # sections | 18 | 22 | 20 | 20 |  | Total btu
110 | 30 |  | 1620 | 1980 | 1800 | 1800 | 600 | 7800
120 | 50 |  | 2700 | 3300 | 3000 | 3000 | 1000 | 13000
130 | 70 |  | 3780 | 4620 | 4200 | 4200 | 1400 | 18200
140 | 90 |  | 4860 | 5940 | 5400 | 5400 | 1800 | 23400
150 | 110 |  | 5940 | 7260 | 6600 | 6600 | 2200 | 28600
160 | 130 |  | 7020 | 8580 | 7800 | 7800 | 2600 | 33800
170 | 150 |  | 8100 | 9900 | 9000 | 9000 | 3000 | 39000
175 | 160 |  | 8640 | 10560 | 9600 | 9600 | 3200 | 41600
180 | 170 |  | 9180 | 11220 | 10200 | 10200 | 3400 | 44200
185 | 180 |  | 9720 | 11880 | 10800 | 10800 | 3600 | 46800
Downstairs
|  | Dining Room | Living Room | Mudroom | Nook | Bathroom | Total BTU |  | Total for top and bottom floors
Water Temp | BTU/Linear Foot | 24 | 33 | 10.5 | 13.5 | 22 high, 8 sections, 5 columns
110 | 163.8 | 3931.2 | 5405.4 | 1719.9 | 2211.3 | 576 | 13843.8 |  | 21643.8
120 | 210.6 | 5054.4 | 6949.8 | 2211.3 | 2843.1 | 960 | 18018.6 |  | 31018.6 | Green indicates ok to balance out heat loss via slantfin analysis
130 | 265.2 | 6364.8 | 8751.6 | 2784.6 | 3580.2 | 1344 | 22825.2 |  | 41025.2 | yellow slightly less ok where between water temps
140 | 319.8 | 7675.2 | 10553.4 | 3357.9 | 4317.3 | 1728 | 27631.8 |  | 51031.8
150 | 390 | 9360 | 12870 | 4095 | 5265 | 2112 | 33702 |  | 62302
160
170 | 520 | 12480 | 17160 | 5460 | 7020 | 2880 | 45000 |  | 84000
175
180 | 590 | 14160 | 19470 | 6195 | 7965 | 3264 | 51054 |  | 95254
185