## Power Usage
2021-02-24 | [17 empty] | Reserve Capacity
| Based on 120 Volts | Cummulative | [5 empty] | Less Starting Watts |  |  |  |  | Maximum Usage |  |  |  |  | 140
Marker for Maximum Usage | ITEM | Average | High (Peak) | High Mid | Low Mid | Low | Starting Watts | Average | High (Peak) | High Mid | Low Mid | Low | AVERAGE | HIGH PEAK | 120V Amp Usage | 12.5V Amp Approx Usage | 13.2V Amp Renogy Monitor | 80% Battery Reserve Capacity (Hours Runtime Usage) | AH | Hours per Day Usage | Amp useage for 24 hrs
1 | Trailer Converter (No Load) | 19.965 | 32 | 20 | 14.3 | 13.56 | 0 | 19.965 | 32 | 20 | 14.3 | 13.56 | 19.965 | 32 | 0.16637 | 1.8468 |  | 25.2694 |  |  | 0
1 | Norcold Refrigerator | 62.4325 | 68 | 62 | 61.33 | 58.4 | 15 | 47.4325 | 53 | 47 | 46.33 | 43.4 | 47.4325 | 53 | 0.39527 | 4.3875 |  | 10.6363 | 43.8751 | 10 | 43.8751
1 | AC Fan | 26.7067 | 29 |  | 25.56 | 25.56 | 15 | 11.7067 | 14 |  | 10.56 | 10.56 | 11.7067 | 14 | 0.097556 | 1.0829 |  | 43.0955 |  |  | 0
1 | AC Fan Only Low (No Cool - AC Fan Off) | 83.9 | 97 |  |  | 70.8 | 15 | 68.9 | 82 |  |  | 55.8 | 68.9 | 82 | 0.57417 | 6.3733 |  | 7.3223 |  |  | 0
1 | AC Fan Only High (No Cool - AC Fan Off) | 72.875 | 73 |  |  | 72.75 | 15 | 57.875 | 58 |  |  | 57.75 | 57.875 | 58 | 0.48229 | 5.3534 |  | 8.7171 |  |  | 0
1 | AC On Low Fan (Cool - AC Fan On) | 454.25 | 470 | 453 | 450 | 444 | 15 | 439.25 | 455 | 438 | 435 | 429 | 439.25 | 455 | 3.6604 | 40.6306 |  | 1.1486 |  |  | 0
1 | Fan-Tastic Overhead Vent Fan (Low) | 41.1667 | 43 | 43 |  | 37.5 | 15 | 26.1667 | 28 | 28 |  | 22.5 | 26.1667 | 28 | 0.21806 | 2.4204 | 1.4 | 19.2804 | 7.2613 | 3 | 7.2613
1 | Fan-Tastic Overhead Vent Fan (Mid) | 49.3333 | 50 | 50 |  | 48 | 15 | 34.3333 | 35 | 35 |  | 33 | 34.3333 | 35 | 0.28611 | 3.1758 | 2.1 | 14.6943 | 6.3517 | 2 | 6.3517
1 | Fan-Tastic Overhead Vent Fan (High) | 67.1667 | 69 | 69 |  | 63.5 | 15 | 52.1667 | 54 | 54 |  | 48.5 | 52.1667 | 54 | 0.43472 | 4.8254 | 2.9 | 9.671 | 4.8254 | 1 | 4.8254
1 | Radio (Jensen) (Low Volume) | 20.2667 | 22.4 | 22.4 |  | 16 | 15 | 5.2667 | 7.4 | 7.4 |  | 1 | 5.2667 | 7.4 | 0.043889 | 0.48717 |  | 95.792 | 0 | 0 | 0
1 | Radio (Jensen) (High Volume) | 34 | 34 |  |  | 34 | 15 | 19 | 19 |  |  | 19 | 19 | 19 | 0.15833 | 1.7575 |  | 26.5529 |  |  | 0
1 | Porch Light (1) | 19.05 | 21.1 |  |  | 17 | 14.43 | 4.62 | 6.67 |  |  | 2.57 | 4.62 | 6.67 | 0.0385 | 0.42735 |  | 109.2001 | 0.10684 | 0.25 | 0.10684
1 | Porch Light (1) | 19.05 | 21.1 |  |  | 17 | 14.43 | 4.62 | 6.67 |  |  | 2.57 | 4.62 | 6.67 | 0.0385 | 0.42735 |  | 109.2001 |  |  | 0
1 | Ceiling Light (1) | 18.5 | 20 |  |  | 17 | 14.4 | 4.1 | 5.6 |  |  | 2.6 | 4.1 | 5.6 | 0.034167 | 0.37925 |  | 123.0499 | 0.18962 | 0.5 | 0.18962
1 | Ceiling Light (1) | 18.5 | 20 |  |  | 17 | 14.4 | 4.1 | 5.6 |  |  | 2.6 | 4.1 | 5.6 | 0.034167 | 0.37925 |  | 123.0499 |  |  | 0
1 | Mood Blue Light (1) | 14.6 | 14.6 |  |  |  | 14.34 | 0.26 | 0.26 |  |  |  | 0.26 | 0.26 | 0.0021667 | 0.02405 |  | 1940.4019 |  |  | 0
1 | Mood Blue Light (1) | 14.6 | 14.6 |  |  |  | 14.34 | 0.26 | 0.26 |  |  |  | 0.26 | 0.26 | 0.0021667 | 0.02405 |  | 1940.4019 | 0.036075 | 1.5 | 0.036075
1 | Reading White Light (1) | 15.95 | 16.9 |  |  | 15 | 14.34 | 1.61 | 2.56 |  |  | 0.66 | 1.61 | 2.56 | 0.013417 | 0.14892 |  | 313.3568 | 0.074462 | 0.5 | 0.074462
1 | Reading White Light (1) | 15.95 | 16.9 |  |  | 15 | 14.34 | 1.61 | 2.56 |  |  | 0.66 | 1.61 | 2.56 | 0.013417 | 0.14892 |  | 313.3568 |  |  | 0
1 | TV Jensen (No Volume) | 21.7 | 27.6 |  |  | 15.8 | 14.29 | 7.41 | 13.31 |  |  | 1.51 | 7.41 | 13.31 | 0.06175 | 0.68543 |  | 68.0843 |  |  | 0
1 | Blu-ray Player (Sony) (Plugged In Off) | 15.75 | 16.9 |  |  | 14.6 | 14.3 | 1.45 | 2.6 |  |  | 0.3 | 1.45 | 2.6 | 0.012083 | 0.13412 |  | 347.9341 |  |  | 0
1 | Blu-ray Player (Sony) (Plugged In On) | 17.85 | 19.2 |  |  | 16.5 | 14.51 | 3.34 | 4.69 |  |  | 1.99 | 3.34 | 4.69 | 0.027833 | 0.30895 |  | 151.0493 |  |  | 0
1 | Blu-ray Player (Sony) (Plugged In On Hard Drive On) | 20.6 | 22.6 | 21.3 |  | 17.9 | 14.29 | 6.31 | 8.31 | 7.01 |  | 3.61 | 6.31 | 8.31 | 0.052583 | 0.58368 |  | 79.9532 |  |  | 0
1 | Blu-ray Player, TV, Hard Drive (On) | 36.2 | 36.4 |  |  | 36 | 14.3 | 21.9 | 22.1 |  |  | 21.7 | 21.9 | 22.1 | 0.1825 | 2.0257 |  | 23.0367 | 0 | 0 | 0
1 | Water Pump (12 Volt per label) | [5 empty] | 1e-05 | [7 empty] | #VALUE! | 7.5 |  | 6.2222 | 0 | 0 | 0
OFF LINE ITEMS
1 | Christmas Lights (LED 24') | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 |  | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9
1 | Rope Light (18') (Off) | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 |  | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
1 | Rope Light (18') (On) | 14.05 | 14.2 | 14.2 | 14.2 | 13.6 |  | 14.05 | 14.2 | 14.2 | 14.2 | 13.6 | 14.05 | 14.2
1 | Battery Charger | 20.5 | 24 | 24 | 17 | 17 | 0 | 20.5 | 24 | 24 | 17 | 17 | 20.5 | 24 | 0.17083 | 1.8962 |  | 24.61 |  |  | 0
1 | LG Project & Hard Drive (Off) | 1.425 | 3 | 2 | 0.4 | 0.3 | 0 | 1.425 | 3 | 2 | 0.4 | 0.3 | 1.425 | 3 | 0.011875 | 0.13181 |  | 354.0382 |  |  | 0
1 | LG Project & Hard Drive (On) | 50 | 50 | 50 | 50 | 50 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0.41667 | 4.625 |  | 10.0901 |  |  | 0
1 | LG Project & Hard Drive (Running) | 98 | 98 | 98 | 98 | 98 | 0 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 0.81667 | 9.065 |  | 5.148 |  |  | 0
Days Usage
[13 empty] | 1035.9275 | 1116.09 |  |  |  |  | 62.7204 |  | 62.7204 | 0.74404